## HighDG
TechSensitivity | year | Cost Type | value
Medium RE Cost | 2030 | NJ DG Cost | 959563462.9286
Medium RE Cost | 2040 | NJ DG Cost | 2201133849.5732
Medium RE Cost | 2050 | NJ DG Cost | 3138035142.9202
Low RE Cost | 2030 | NJ DG Cost | 896269983.9983
Low RE Cost | 2040 | NJ DG Cost | 1907234316.1785
Low RE Cost | 2050 | NJ DG Cost | 2625102014.0216
High RE Cost | 2030 | NJ DG Cost | 1124412340.138 | Successor Cumulative Operating DC Capacity - Includes Panel/System Degradation
High RE Cost | 2040 | NJ DG Cost | 2836510768.6905 |  | 2000 | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050 | 2051 | 2052 | 2053 | 2054 | 2055 | 2056 | 2057 | 2058 | 2059 | 2060
High RE Cost | 2050 | NJ DG Cost | 3828673661.1531 | Residential | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 50 | 200 | 312.5 | 512.5 | 712.5 | 912.5 | 1162.5 | 1437.5 | 1712.5 | 1932.5 | 2152.5 | 2372.5 | 2592.5 | 2812.5 | 3032.5 | 3282.5 | 3532.5 | 3782.5 | 4032.5 | 4252.5 | 4472.5 | 4643.5 | 4814.5 | 4985.5 | 5183.5 | 5381.5 | 5579.5 | 5777.5 | 5897.5 | 5897.5 | 5897.5 | 5897.5 | 5897.5 | 5897.5 | 5897.5 | 5897.5 | 5897.5 | 5897.5 | 5897.5
|  |  |  | Commercial | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 195 | 382.5 | 682.5 | 982.5 | 1282.5 | 1582.5 | 1912.5 | 2242.5 | 2523.75 | 2805 | 3086.25 | 3367.5 | 3648.75 | 3930 | 4180 | 4430 | 4680 | 4930 | 5160 | 5390 | 5570 | 5750 | 5930 | 6128 | 6326 | 6524 | 6722 | 6849.5 | 6849.5 | 6849.5 | 6849.5 | 6849.5 | 6849.5 | 6849.5 | 6849.5 | 6849.5 | 6849.5 | 6849.5
|  |  |  | Grid | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 50 | 100 | 150 | 200 | 250 | 300 | 350 | 400 | 450 | 500 | 550 | 600 | 650 | 700 | 750 | 800 | 900 | 1000 | 1100 | 1200 | 1300 | 1350 | 1400 | 1450 | 1500 | 1550 | 1550 | 1550 | 1550 | 1550 | 1550 | 1550 | 1550 | 1550 | 1550 | 1550
|  |  |  | Community | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 150 | 300 | 450 | 600 | 750 | 900 | 1050 | 1200 | 1350 | 1500 | 1650 | 1800 | 1950 | 2100 | 2250 | 2400 | 2550 | 2700 | 2850 | 3000 | 3150 | 3300 | 3450 | 3600 | 3750 | 3900 | 4050 | 4050 | 4050 | 4050 | 4050 | 4050 | 4050 | 4050 | 4050 | 4050 | 4050
|  |  |  | Total | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 55 | 395 | 845 | 1545 | 2245 | 2945 | 3695 | 4500 | 5305 | 6006.25 | 6707.5 | 7408.75 | 8110 | 8811.25 | 9512.5 | 10212.5 | 10912.5 | 11612.5 | 12312.5 | 13012.5 | 13712.5 | 14313.5 | 14914.5 | 15515.5 | 16111.5 | 16707.5 | 17303.5 | 17899.5 | 18347 | 18347 | 18347 | 18347 | 18347 | 18347 | 18347 | 18347 | 18347 | 18347 | 18347
[30 empty] | Incremental Capacity |  |  | Accumulative Capacity | [6 empty] | Weighted Annualized CAPEX Cost |  |  | FOM |  |  | Incremental Installation cost |  |  | Sunk cost |  |  | FOM |  |  |  | Accumulated cost
[30 empty] | 2030 | 2040 | 2050 | 2030 | 2040 | 2050 |  |  |  |  | 2030 | 2040 | 2050 | 2030 | 2040 | 2050 | 2030 | 2040 | 2050 | 2030 | 2040 | 2050 | 2030 | 2040 | 2050 |  | 2030 | 2040 | 2050
[29 empty] | Residential | 1712.5 | 2320 | 1865 | 1712.5 | 4032.5 | 5897.5 |  |  | Mid RE | Residential | 191340 | 215878.8 | 235270.2 | 37125 | 26972.9305 | 24453.1723 | 327669750 | 500838816 | 438778923 | 0 | 327669750 | 766448673 | 63576562.5 | 108768342.3975 | 144212583.5871 | Residential | 391246312.5 | 937276908.3975 | 1349440179.5871
[29 empty] | Commercial | 2242.5 | 2687.5 | 1919.5 | 2242.5 | 4930 | 6849.5 |  |  | Mid RE | Commercial | 111422.8 | 124815 | 121640 | 45328.5714 | 32933.1827 | 29856.6294 | 249865629 | 335440312.5 | 233487980 | 0 | 249865629 | 483353609 | 101649321.4286 | 162360590.8207 | 204502983.1454 | Commercial | 351514950.4286 | 747666532.3207 | 921344572.1454
[29 empty] | Grid | 300 | 500 | 750 | 300 | 800 | 1550 |  |  | Mid RE | Grid | 102272 | 115147 | 112717 | 27191 | 19755.4466 | 17909.9315 | 30681600 | 57573500 | 84537750 | 0 | 30681600 | 115219350 | 8157300 | 15804357.2639 | 27760393.8597 | Grid | 38838900 | 104059457.2639 | 227517493.8597
[29 empty] | Community | 1050 | 1500 | 1500 | 1050 | 2550 | 4050 |  |  | Mid RE | Community | 110346 | 124463 | 122033 | 59142.8571 | 42969.8634 | 38955.703 | 115863300 | 186694500 | 183049500 | 0 | 115863300 | 298912800 | 62100000 | 109573151.5911 | 157770597.3279 | Community | 177963300 | 412130951.5911 | 639732897.3279
[29 empty] | Total | 5305 | 7007.5 | 6034.5 | 5305 | 12312.5 | 18347 | [19 empty] | Total | 959563462.9286 | 2201133849.5732 | 3138035142.9202
[40 empty] | Weighted Annualized CAPEX Cost 2030: Weighted Annualized CAPEX Cost; FOM 2030: FOM; Incremental Installation cost 2030: Incremental Installation cost; Sunk cost 2030: Sunk cost; FOM 2030: FOM |  | Accumulated cost
[40 empty] | 2030 | 2040 | 2050 | 2030 | 2040 | 2050 | 2030 | 2040 | 2050 | 2030 | 2040 | 2050 | 2030 | 2040 | 2050 |  | 2030 | 2040 | 2050
[29 empty] | Residential | 1712.5 | 2320 | 1865 | 1712.5 | 4032.5 | 5897.5 |  |  | Low RE | Residential | 179219.4163 | 181711.6006 | 192143.1835 | 34377.7051 | 21733.9683 | 18846.2186 | 306913250.4043 | 421570913.5027 | 358347037.2264 | 0 | 306913250.4043 | 665260287.6307 | 58871819.9058 | 87642227.1536 | 111145574.1856 | Residential | 365785070.3101 | 816126391.0607 | 1134752899.0427
[29 empty] | Commercial | 2242.5 | 2687.5 | 1919.5 | 2242.5 | 4930 | 6849.5 |  |  | Low RE | Commercial | 104364.6346 | 105060.4943 | 99342.3597 | 41974.2023 | 26536.5585 | 23010.6981 | 234037693.0147 | 282350078.4058 | 190687659.4913 | 0 | 234037693.0147 | 424725352.506 | 94127148.5807 | 130825233.4076 | 157611776.4414 | Commercial | 328164841.5955 | 647213004.8281 | 773024788.4387
[29 empty] | Grid | 300 | 500 | 750 | 300 | 800 | 1550 |  |  | Low RE | Grid | 95793.4992 | 96922.6514 | 92055.0211 | 25178.8331 | 15918.3389 | 13803.3005 | 28738049.7699 | 48461325.7063 | 69041265.7909 | 0 | 28738049.7699 | 97779315.5608 | 7553649.9243 | 12734671.1259 | 21395115.7271 | Grid | 36291699.6943 | 89934046.6022 | 188215697.0789
[29 empty] | Community | 1050 | 1500 | 1500 | 1050 | 2550 | 4050 |  |  | Low RE | Community | 103356.0453 | 104764.2054 | 99663.3195 | 54766.2141 | 34623.811 | 30023.4132 | 108523847.58 | 157146308.1466 | 149494979.2535 | 0 | 108523847.58 | 258018826.8335 | 57504524.8184 | 88290717.9609 | 121594823.3743 | Community | 166028372.3984 | 353960873.6875 | 529108629.4613
[29 empty] | Total | 5305 | 7007.5 | 6034.5 | 5305 | 12312.5 | 18347 | [19 empty] | Total | 896269983.9983 | 1907234316.1785 | 2625102014.0216
[6 empty] | Annualized CAPEX 2022 (2020 USD/MW-year) | Annualized CAPEX online 2031 (2020 USD/MW-year) | Annualized CAPEX online 2041 (2020 USD/MW-year) | FOM 2022 (2020 USD/MW-year) | FOM online 2031 (2020 USD/MW-year) | FOM online 2041 (2020 USD/MW-year) | [28 empty] | Weighted Annualized CAPEX Cost 2030: Weighted Annualized CAPEX Cost; FOM 2030: FOM; Incremental Installation cost 2030: Incremental Installation cost; Sunk cost 2030: Sunk cost; FOM 2030: FOM |  | Accumulated cost
|  |  |  | Mid RE | Resi_DO_Roof | 187911 | 212010 | 231054 | 37125 | 26972.9305 | 24453.1723 | 0.4 | [27 empty] | 2030 | 2040 | 2050 | 2030 | 2040 | 2050 | 2030 | 2040 | 2050 | 2030 | 2040 | 2050 | 2030 | 2040 | 2050 |  | 2030 | 2040 | 2050
|  |  |  | Mid RE | Resi_TPO_Roof | 193626 | 218458 | 238081 | 37125 | 26972.9305 | 24453.1723 | 0.6 | [16 empty] | Residential | 1712.5 | 2320 | 1865 | 1712.5 | 4032.5 | 5897.5 |  |  | High RE | Residential | 222904.5654 | 286944.2987 | 288011.4483 | 44282.5742 | 37872.2193 | 31310.1733 | 381724068.3314 | 665710773.0676 | 537141351.0697 | 0 | 381724068.3314 | 918865419.4011 | 75833908.2362 | 152719724.2452 | 184651746.8882 | Residential | 457557976.5677 | 1200154565.6443 | 1640658517.3591
|  |  |  | Mid RE | Comm_DO_Roof_med | 113038 | 126678 | 123503 | 22571.4286 | 16399.1266 | 14867.1524 | 0.4 | [16 empty] | Commercial | 2242.5 | 2687.5 | 1919.5 | 2242.5 | 4930 | 6849.5 |  |  | High RE | Commercial | 129803.7567 | 165903.056 | 148908.415 | 54067.7663 | 46240.905 | 38228.833 | 291084924.4951 | 445864463.014 | 285829702.5259 | 0 | 291084924.4951 | 576914627.021 | 121246966.026 | 227967661.4709 | 261848391.7449 | Commercial | 412331890.5211 | 964917048.9801 | 1124592721.2918
|  |  |  | Mid RE | Comm_TPO_Roof_med | 110346 | 123573 | 120398 | 60500 | 43955.8868 | 39849.6141 | 0.6 | [16 empty] | Grid | 300 | 500 | 750 | 300 | 800 | 1550 |  |  | High RE | Grid | 119143.3873 | 153052.4311 | 137985.1185 | 32433.3326 | 27738.2765 | 22932.1191 | 35743016.1769 | 76526215.5584 | 103488838.8461 | 0 | 35743016.1769 | 139231855.0229 | 9729999.7881 | 22190621.1864 | 35544784.602 | Grid | 45473015.965 | 134459852.9217 | 278265478.471
|  |  |  | Mid RE | Grid_Ground | 102272 | 115147 | 112717 | 27191 | 19755.4466 | 17909.9315 | 1 | [16 empty] | Community | 1050 | 1500 | 1500 | 1050 | 2550 | 4050 |  |  | High RE | Community | 128549.3215 | 165435.1805 | 149389.515 | 70545.3995 | 60333.2324 | 49879.4102 | 134976787.5927 | 248152770.8157 | 224084272.486 | 0 | 134976787.5927 | 359061060.0787 | 74072669.4915 | 153849742.7361 | 202011611.4666 | Community | 209049457.0842 | 536979301.1445 | 785156944.0313
|  |  |  | Mid RE | CS_Ground | 110346 | 124463 | 122033 | 59142.8571 | 42969.8634 | 38955.703 | 1 | [16 empty] | Total | 5305 | 7007.5 | 6034.5 | 5305 | 12312.5 | 18347 | [19 empty] | Total | 1124412340.138 | 2836510768.6905 | 3828673661.1531
|  |  |  | Low RE | Resi_DO_Roof | 176007.629 | 178455.1167 | 188699.8486 | 34377.7051 | 21733.9683 | 18846.2186 | 0.4
|  |  |  | Low RE | Resi_TPO_Roof | 181360.6078 | 183882.5899 | 194438.7401 | 34377.7051 | 21733.9683 | 18846.2186 | 0.6
|  |  |  | Low RE | Comm_DO_Roof_med | 105877.5184 | 106628.6367 | 100863.8561 | 20901.1155 | 13213.9182 | 11458.2108 | 0.4
|  |  |  | Low RE | Comm_TPO_Roof_med | 103356.0453 | 104015.066 | 98328.0288 | 56022.9268 | 35418.3187 | 30712.3562 | 0.6
|  |  |  | Low RE | Grid_Ground | 95793.4992 | 96922.6514 | 92055.0211 | 25178.8331 | 15918.3389 | 13803.3005 | 1
|  |  |  | Low RE | CS_Ground | 103356.0453 | 104764.2054 | 99663.3195 | 54766.2141 | 34623.811 | 30023.4132 | 1
|  |  |  | High RE | Resi_DO_Roof | 218909.8976 | 281801.9221 | 282850.0897 | 44282.5742 | 37872.2193 | 31310.1733 | 0.4
|  |  |  | High RE | Resi_TPO_Roof | 225567.6774 | 290372.5498 | 291452.354 | 44282.5742 | 37872.2193 | 31310.1733 | 0.6
|  |  |  | High RE | Comm_DO_Roof_med | 131685.4096 | 168379.3401 | 151189.0494 | 26923.1235 | 23025.7264 | 19036.1034 | 0.4
|  |  |  | High RE | Comm_TPO_Roof_med | 128549.3215 | 164252.2 | 147387.992 | 72164.1949 | 61717.6907 | 51023.9861 | 0.6
|  |  |  | High RE | Grid_Ground | 119143.3873 | 153052.4311 | 137985.1185 | 32433.3326 | 27738.2765 | 22932.1191 | 1
|  |  |  | High RE | CS_Ground | 128549.3215 | 165435.1805 | 149389.515 | 70545.3995 | 60333.2324 | 49879.4102 | 1
[6 empty] | Inv_cost_per_MWyr | Fixed_OM_cost_per_MWyr | Inv_cost_per_MWyr | Fixed_OM_cost_per_MWyr | Inv_cost_per_MWyr | Fixed_OM_cost_per_MWyr |  | FOM Ratio online 2031 vs FOM Ratio online 2022 | FOM Ratio online 2041 vs FOM Ratio online 2031
|  |  |  | PJM_NJCoast | Mid RE | 63618.307 | 13216 | 49536.323 | 9602 | 45767.491 | 8705 |  | 0.72654 | 0.65867
|  |  |  | PJM_NJLand | Mid RE | 63852.2644 | 13216 | 49770.2804 | 9602 | 46001.4484 | 8705 |  | 0.72654 | 0.65867
|  |  |  | PJM_NJCoast | Low RE | 59588.355 | 12238 | 41696.195 | 7737 | 37377.923 | 6709 |  | 0.63221 | 0.54821
|  |  |  | PJM_NJLand | Low RE | 59822.3124 | 12238 | 41930.1524 | 7737 | 37611.8804 | 6709 |  | 0.63221 | 0.54821
|  |  |  | PJM_NJCoast | High RE | 74113.155 | 15764 | 65843.267 | 13482 | 56027.331 | 11146 |  | 0.85524 | 0.70705
|  |  |  | PJM_NJLand | High RE | 74347.1124 | 15764 | 66077.2244 | 13482 | 56261.2884 | 11146 |  | 0.85524 | 0.70705
[5 empty] | Ratio | 93.67% | 92.6% | 84.17% | 80.58% | 81.67% | 77.07%
[6 empty] | 116.5% | 119.3% | 132.9% | 140.4% | 122.4% | 128%

## NormalCase
TechSensitivity | year | Cost Type | value
Medium RE Cost | 2030 | NJ DG Cost | 408857558.5714
Medium RE Cost | 2040 | NJ DG Cost | 379592887.6909
Medium RE Cost | 2050 | NJ DG Cost | 372329354.2709
Low RE Cost | 2030 | NJ DG Cost | 381817834.7542 | [31 empty] | 650
Low RE Cost | 2040 | NJ DG Cost | 345370606.3001 | [31 empty] | 850
Low RE Cost | 2050 | NJ DG Cost | 337046289.2925
High RE Cost | 2030 | NJ DG Cost | 479283476.1389 | Successor Cumulative Operating DC Capacity - Includes Panel/System Degradation | [30 empty] | 750
High RE Cost | 2040 | NJ DG Cost | 460804787.9957 |  | 2000 | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050 | 2051 | 2052 | 2053 | 2054 | 2055 | 2056 | 2057 | 2058 | 2059 | 2060
High RE Cost | 2050 | NJ DG Cost | 441888830.2821 | Residential | 750 2030: 650; 750 2040: 650; 750 2050: 650
|  |  |  | Commercial | 750 2030: 850; 750 2040: 850; 750 2050: 850
Grid
|  |  |  | Community | 750 2030: 750; 750 2040: 750; 750 2050: 750
|  |  |  | Total | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2250 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2250 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2250 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[30 empty] | Incremental Capacity |  |  | Accumulative Capacity | [6 empty] | Weighted Annualized CAPEX Cost |  |  | FOM |  |  | Incremental Installation cost |  |  | Sunk cost |  |  | FOM |  |  |  | Accumulated cost
[30 empty] | 2030 | 2040 | 2050 | 2030 | 2040 | 2050 |  |  |  |  | 2030 | 2040 | 2050 | 2030 | 2040 | 2050 | 2030 | 2040 | 2050 | 2030 | 2040 | 2050 | 2030 | 2040 | 2050 |  | 2030 | 2040 | 2050
[29 empty] | Residential | 650 | 0 | 0 | 650 | 650 | 650 |  |  | Mid RE | Residential | 191340 | 215878.8 | 235270.2 | 37125 | 26972.9305 | 24453.1723 | 124371000 | 0 | 0 | 0 | 124371000 | 124371000 | 24131250 | 17532404.8502 | 15894561.9893 | Residential | 148502250 | 141903404.8502 | 140265561.9893
[29 empty] | Commercial | 850 | 0 | 0 | 850 | 850 | 850 |  |  | Mid RE | Commercial | 111422.8 | 124815 | 121640 | 45328.5714 | 32933.1827 | 29856.6294 | 94709380 | 0 | 0 | 0 | 94709380 | 94709380 | 38529285.7143 | 27993205.3139 | 25378134.9987 | Commercial | 133238665.7143 | 122702585.3139 | 120087514.9987
[29 empty] | Grid | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Mid RE | Grid | 102272 | 115147 | 112717 | 27191 | 19755.4466 | 17909.9315 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Grid | 0 | 0 | 0
[29 empty] | Community | 750 | 0 | 0 | 750 | 750 | 750 |  |  | Mid RE | Community | 110346 | 124463 | 122033 | 59142.8571 | 42969.8634 | 38955.703 | 82759500 | 0 | 0 | 0 | 82759500 | 82759500 | 44357142.8571 | 32227397.5268 | 29216777.2829 | Community | 127116642.8571 | 114986897.5268 | 111976277.2829
[29 empty] | Total | 2250 | 0 | 0 | 2250 | 2250 | 2250 | [19 empty] | Total | 408857558.5714 | 379592887.6909 | 372329354.2709
[40 empty] | Weighted Annualized CAPEX Cost 2030: Weighted Annualized CAPEX Cost; FOM 2030: FOM; Incremental Installation cost 2030: Incremental Installation cost; Sunk cost 2030: Sunk cost; FOM 2030: FOM |  | Accumulated cost
[40 empty] | 2030 | 2040 | 2050 | 2030 | 2040 | 2050 | 2030 | 2040 | 2050 | 2030 | 2040 | 2050 | 2030 | 2040 | 2050 |  | 2030 | 2040 | 2050
[29 empty] | Residential | 650 | 0 | 0 | 650 | 650 | 650 |  |  | Low RE | Residential | 179219.4163 | 181711.6006 | 192143.1835 | 34377.7051 | 21733.9683 | 18846.2186 | 116492620.5914 | 0 | 0 | 0 | 116492620.5914 | 116492620.5914 | 22345508.2854 | 14127079.3924 | 12250042.0891 | Residential | 138838128.8768 | 130619699.9838 | 128742662.6806
[29 empty] | Commercial | 850 | 0 | 0 | 850 | 850 | 850 |  |  | Low RE | Commercial | 104364.6346 | 105060.4943 | 99342.3597 | 41974.2023 | 26536.5585 | 23010.6981 | 88709939.3813 | 0 | 0 | 0 | 88709939.3813 | 88709939.3813 | 35678071.9258 | 22556074.7254 | 19559093.3609 | Commercial | 124388011.3071 | 111266014.1067 | 108269032.7421
[29 empty] | Grid | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Low RE | Grid | 95793.4992 | 96922.6514 | 92055.0211 | 25178.8331 | 15918.3389 | 13803.3005 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Grid | 0 | 0 | 0
[29 empty] | Community | 750 | 0 | 0 | 750 | 750 | 750 |  |  | Low RE | Community | 103356.0453 | 104764.2054 | 99663.3195 | 54766.2141 | 34623.811 | 30023.4132 | 77517033.9857 | 0 | 0 | 0 | 77517033.9857 | 77517033.9857 | 41074660.5846 | 25967858.2238 | 22517559.8841 | Community | 118591694.5703 | 103484892.2095 | 100034593.8698
[29 empty] | Total | 2250 | 0 | 0 | 2250 | 2250 | 2250 | [19 empty] | Total | 381817834.7542 | 345370606.3001 | 337046289.2925
[6 empty] | Annualized CAPEX 2022 (2020 USD/MW-year) | Annualized CAPEX online 2031 (2020 USD/MW-year) | Annualized CAPEX online 2041 (2020 USD/MW-year) | FOM 2022 (2020 USD/MW-year) | FOM online 2031 (2020 USD/MW-year) | FOM online 2041 (2020 USD/MW-year) | [28 empty] | Weighted Annualized CAPEX Cost 2030: Weighted Annualized CAPEX Cost; FOM 2030: FOM; Incremental Installation cost 2030: Incremental Installation cost; Sunk cost 2030: Sunk cost; FOM 2030: FOM |  | Accumulated cost
|  |  |  | Mid RE | Resi_DO_Roof | 187911 | 212010 | 231054 | 37125 | 26972.9305 | 24453.1723 | 0.4 | [27 empty] | 2030 | 2040 | 2050 | 2030 | 2040 | 2050 | 2030 | 2040 | 2050 | 2030 | 2040 | 2050 | 2030 | 2040 | 2050 |  | 2030 | 2040 | 2050
|  |  |  | Mid RE | Resi_TPO_Roof | 193626 | 218458 | 238081 | 37125 | 26972.9305 | 24453.1723 | 0.6 | [16 empty] | Residential | 650 | 0 | 0 | 650 | 650 | 650 |  |  | High RE | Residential | 222904.5654 | 286944.2987 | 288011.4483 | 44282.5742 | 37872.2193 | 31310.1733 | 144887967.5419 | 0 | 0 | 0 | 144887967.5419 | 144887967.5419 | 28783673.1992 | 24616942.5318 | 20351612.6286 | Residential | 173671640.741 | 169504910.0736 | 165239580.1705
|  |  |  | Mid RE | Comm_DO_Roof_med | 113038 | 126678 | 123503 | 22571.4286 | 16399.1266 | 14867.1524 | 0.4 | [16 empty] | Commercial | 850 | 0 | 0 | 850 | 850 | 850 |  |  | High RE | Commercial | 129803.7567 | 165903.056 | 148908.415 | 54067.7663 | 46240.905 | 38228.833 | 110333193.2311 | 0 | 0 | 0 | 110333193.2311 | 110333193.2311 | 45957601.3923 | 39304769.2191 | 32494508.0638 | Commercial | 156290794.6234 | 149637962.4503 | 142827701.295
|  |  |  | Mid RE | Comm_TPO_Roof_med | 110346 | 123573 | 120398 | 60500 | 43955.8868 | 39849.6141 | 0.6 | [16 empty] | Grid | 0 | 0 | 0 | 0 | 0 | 0 |  |  | High RE | Grid | 119143.3873 | 153052.4311 | 137985.1185 | 32433.3326 | 27738.2765 | 22932.1191 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Grid | 0 | 0 | 0
|  |  |  | Mid RE | Grid_Ground | 102272 | 115147 | 112717 | 27191 | 19755.4466 | 17909.9315 | 1 | [16 empty] | Community | 750 | 0 | 0 | 750 | 750 | 750 |  |  | High RE | Community | 128549.3215 | 165435.1805 | 149389.515 | 70545.3995 | 60333.2324 | 49879.4102 | 96411991.1377 | 0 | 0 | 0 | 96411991.1377 | 96411991.1377 | 52909049.6368 | 45249924.3341 | 37409557.679 | Community | 149321040.7745 | 141661915.4718 | 133821548.8167
|  |  |  | Mid RE | CS_Ground | 110346 | 124463 | 122033 | 59142.8571 | 42969.8634 | 38955.703 | 1 | [16 empty] | Total | 2250 | 0 | 0 | 2250 | 2250 | 2250 | [19 empty] | Total | 479283476.1389 | 460804787.9957 | 441888830.2821
|  |  |  | Low RE | Resi_DO_Roof | 176007.629 | 178455.1167 | 188699.8486 | 34377.7051 | 21733.9683 | 18846.2186 | 0.4
|  |  |  | Low RE | Resi_TPO_Roof | 181360.6078 | 183882.5899 | 194438.7401 | 34377.7051 | 21733.9683 | 18846.2186 | 0.6
|  |  |  | Low RE | Comm_DO_Roof_med | 105877.5184 | 106628.6367 | 100863.8561 | 20901.1155 | 13213.9182 | 11458.2108 | 0.4
|  |  |  | Low RE | Comm_TPO_Roof_med | 103356.0453 | 104015.066 | 98328.0288 | 56022.9268 | 35418.3187 | 30712.3562 | 0.6
|  |  |  | Low RE | Grid_Ground | 95793.4992 | 96922.6514 | 92055.0211 | 25178.8331 | 15918.3389 | 13803.3005 | 1
|  |  |  | Low RE | CS_Ground | 103356.0453 | 104764.2054 | 99663.3195 | 54766.2141 | 34623.811 | 30023.4132 | 1
|  |  |  | High RE | Resi_DO_Roof | 218909.8976 | 281801.9221 | 282850.0897 | 44282.5742 | 37872.2193 | 31310.1733 | 0.4
|  |  |  | High RE | Resi_TPO_Roof | 225567.6774 | 290372.5498 | 291452.354 | 44282.5742 | 37872.2193 | 31310.1733 | 0.6
|  |  |  | High RE | Comm_DO_Roof_med | 131685.4096 | 168379.3401 | 151189.0494 | 26923.1235 | 23025.7264 | 19036.1034 | 0.4
|  |  |  | High RE | Comm_TPO_Roof_med | 128549.3215 | 164252.2 | 147387.992 | 72164.1949 | 61717.6907 | 51023.9861 | 0.6
|  |  |  | High RE | Grid_Ground | 119143.3873 | 153052.4311 | 137985.1185 | 32433.3326 | 27738.2765 | 22932.1191 | 1
|  |  |  | High RE | CS_Ground | 128549.3215 | 165435.1805 | 149389.515 | 70545.3995 | 60333.2324 | 49879.4102 | 1
[6 empty] | Inv_cost_per_MWyr | Fixed_OM_cost_per_MWyr | Inv_cost_per_MWyr | Fixed_OM_cost_per_MWyr | Inv_cost_per_MWyr | Fixed_OM_cost_per_MWyr |  | FOM Ratio online 2031 vs FOM Ratio online 2022 | FOM Ratio online 2041 vs FOM Ratio online 2031
|  |  |  | PJM_NJCoast | Mid RE | 63618.307 | 13216 | 49536.323 | 9602 | 45767.491 | 8705 |  | 0.72654 | 0.65867
|  |  |  | PJM_NJLand | Mid RE | 63852.2644 | 13216 | 49770.2804 | 9602 | 46001.4484 | 8705 |  | 0.72654 | 0.65867
|  |  |  | PJM_NJCoast | Low RE | 59588.355 | 12238 | 41696.195 | 7737 | 37377.923 | 6709 |  | 0.63221 | 0.54821
|  |  |  | PJM_NJLand | Low RE | 59822.3124 | 12238 | 41930.1524 | 7737 | 37611.8804 | 6709 |  | 0.63221 | 0.54821
|  |  |  | PJM_NJCoast | High RE | 74113.155 | 15764 | 65843.267 | 13482 | 56027.331 | 11146 |  | 0.85524 | 0.70705
|  |  |  | PJM_NJLand | High RE | 74347.1124 | 15764 | 66077.2244 | 13482 | 56261.2884 | 11146 |  | 0.85524 | 0.70705
[5 empty] | Ratio | 93.67% | 92.6% | 84.17% | 80.58% | 81.67% | 77.07%
[6 empty] | 116.5% | 119.3% | 132.9% | 140.4% | 122.4% | 128%

## SAM Assumption
From SAM |  | Modeled Installed Cost | Modeled Capacity (kW) | Size Class | Size Class Index | Module | Inverter | BOS | Module 2031-2040 (for incremental) | Module 2041-2050 (for incremental) | Inverter 2031-2040 (for incremental) | Inverter 2041-2050 (for incremental) | 2031-2040 Modeled Cost (2020 real) | 2041-2050 Modeled Cost (2020 real) | Inverter Change in year 13 ($/W) Tech year 2020 | Inverter Change in year 13 ($/W) Tech year 2031 | Inverter Change in year 13 ($/W) Tech year 2041 | Decommission Cost ($/W) | DebtShare (use SAM Market, row 195 in original spreadsheet, year 2020) | Interest Rate - Nominal (use SAM Market case, year 2020) | Rate of Return of Equity Nominal (use Market, use TPO's value for DO) | Weighted Average Cost of Capital (real) | Annualized Capex (2020 $/MW-year), tech year 2020-2022 | Annualized Capex (2020 $/MW-year), tech year 2023-2030 | Annualized Capex (2020 $/MW-year), tech year 2031 | Annualized Capex (2020 $/MW-year), tech year 2041 | FOM 2017$/MW-year
Comm_DO_Ground_lg | $/W | 1.9 | 3500 | Very large | 3 | 0.25 | 0.06 | 1.59 | 0.21493 | 0.18478 | 0.049024 | 0.040056 | 1.854 | 1.8148 | 0.05 | 0.036947 | 0.030188 | 0.02 | 48.75% | 6.5% | 10% | 4.725% | 97027 | 102272 | 115147 | 112717 | 13428.5714
Comm_DO_Ground_med | $/W | 2.4 | 500 | Commercial | 2 | 0.3 | 0.1 | 2 | 0.25792 | 0.22174 | 0.081707 | 0.066761 | 2.3396 | 2.2885 | 0.08 | 0.061578 | 0.050314 | 0.02 | 48.75% | 6.5% | 10% | 4.725% | 122561 | 129186 | 145311 | 142136 | 20000
Comm_DO_Roof_lg | $/W | 1.7 | 2000 | Very large | 3 | 0.25 | 0.06 | 1.39 | 0.21493 | 0.18478 | 0.049024 | 0.040056 | 1.654 | 1.6148 | 0.05 | 0.036947 | 0.030188 | 0.02 | 48.75% | 6.5% | 10% | 4.725% | 86814 | 91507 | 102725 | 100295 | 14500
Comm_DO_Roof_med | $/W | 2.1 | 350 | Commercial | 2 | 0.3 | 0.1 | 1.7 | 0.25792 | 0.22174 | 0.081707 | 0.066761 | 2.0396 | 1.9885 | 0.08 | 0.061578 | 0.050314 | 0.02 | 48.75% | 6.5% | 10% | 4.725% | 107241 | 113038 | 126678 | 123503 | 22571.4286
Comm_DO_Roof_sm | $/W | 2.6 | 35 | Commercial | 2 | 0.3 | 0.1 | 2.2 | 0.25792 | 0.22174 | 0.081707 | 0.066761 | 2.5396 | 2.4885 | 0.08 | 0.061578 | 0.050314 | 0.02 | 48.75% | 6.5% | 10% | 4.725% | 132774 | 139951 | 157733 | 154557 | 14485.7143
Comm_TPO_Carport | $/W | 2.65 | 1500 | Very large | 3 | 0.25 | 0.06 | 2.34 | 0.21493 | 0.18478 | 0.049024 | 0.040056 | 2.604 | 2.5648 | 0 | 0 | 0 | 0 | 48.75% | 6.5% | 10% | 4.725% | 135328 | 142643 | 161728 | 159299 | 38433.3333
Comm_TPO_Ground_lg | $/W | 1.85 | 3500 | Very large | 3 | 0.25 | 0.06 | 1.54 | 0.21493 | 0.18478 | 0.049024 | 0.040056 | 1.804 | 1.7648 | 0 | 0 | 0 | 0 | 48.75% | 6.5% | 10% | 4.725% | 94474 | 99581 | 112041 | 109612 | 29142.8571
Comm_TPO_Ground_med | $/W | 2.3 | 450 | Commercial | 2 | 0.3 | 0.1 | 1.9 | 0.25792 | 0.22174 | 0.081707 | 0.066761 | 2.2396 | 2.1885 | 0 | 0 | 0 | 0 | 48.75% | 6.5% | 10% | 4.725% | 117454 | 123803 | 139100 | 135925 | 54000
Comm_TPO_Roof_lg | $/W | 1.65 | 2000 | Very large | 3 | 0.25 | 0.06 | 1.34 | 0.21493 | 0.18478 | 0.049024 | 0.040056 | 1.604 | 1.5648 | 0 | 0 | 0 | 0 | 48.75% | 6.5% | 10% | 4.725% | 84261 | 88815 | 99620 | 97190 | 42000
Comm_TPO_Roof_med | $/W | 2.05 | 250 | Commercial | 2 | 0.3 | 0.1 | 1.65 | 0.25792 | 0.22174 | 0.081707 | 0.066761 | 1.9896 | 1.9385 | 0 | 0 | 0 | 0 | 48.75% | 6.5% | 10% | 4.725% | 104687 | 110346 | 123573 | 120398 | 60500
Comm_TPO_Roof_sm | $/W | 2.55 | 35 | Commercial | 2 | 0.3 | 0.1 | 2.15 | 0.25792 | 0.22174 | 0.081707 | 0.066761 | 2.4896 | 2.4385 | 0 | 0 | 0 | 0 | 48.75% | 7% | 10% | 4.891% | 132435 | 139593 | 157256 | 154026 | 43057.1429
CS_Ground | $/W | 2.05 | 3500 | Very large | 3 | 0.25 | 0.06 | 1.74 | 0.21493 | 0.18478 | 0.049024 | 0.040056 | 2.004 | 1.9648 | 0 | 0 | 0 | 0 | 48.75% | 6.5% | 10% | 4.725% | 104687 | 110346 | 124463 | 122033 | 59142.8571
CS_Roof_lg | $/W | 1.85 | 2000 | Very large | 3 | 0.25 | 0.06 | 1.54 | 0.21493 | 0.18478 | 0.049024 | 0.040056 | 1.804 | 1.7648 | 0 | 0 | 0 | 0 | 48.75% | 6.5% | 10% | 4.725% | 94474 | 99581 | 112041 | 109612 | 67000
CS_Roof_med | $/W | 2.25 | 650 | Commercial | 2 | 0.3 | 0.1 | 1.85 | 0.25792 | 0.22174 | 0.081707 | 0.066761 | 2.1896 | 2.1385 | 0 | 0 | 0 | 0 | 48.75% | 6.5% | 10% | 4.725% | 114901 | 121112 | 135995 | 132819 | 72384.6154
Grid_Ground | $/W | 1.9 | 7000 | Very large | 3 | 0.25 | 0.06 | 1.59 | 0.21493 | 0.18478 | 0.049024 | 0.040056 | 1.854 | 1.8148 | 0 | 0 | 0 | 0 | 48.75% | 6.5% | 10% | 4.725% | 97027 | 102272 | 115147 | 112717 | 27191
Grid_Ground_OOS | $/W | 1.15 | 10000 | Very large | 3 | 0.25 | 0.06 | 0.84 | 0.21493 | 0.18478 | 0.049024 | 0.040056 | 1.104 | 1.0648 | 0 | 0 | 0 | 0 | 48.75% | 6.5% | 10% | 4.725% | 58727 | 61902 | 68565 | 66136 | 21533.7
Grid_Roof | $/W | 1.65 | 2000 | Very large | 3 | 0.25 | 0.06 | 1.34 | 0.21493 | 0.18478 | 0.049024 | 0.040056 | 1.604 | 1.5648 | 0 | 0 | 0 | 0 | 48.75% | 6.5% | 10% | 4.725% | 84261 | 88815 | 99620 | 97190 | 42000
Resi_DO_Roof | $/W | 3.45 | 8 | Residential | 1 | 0.35 | 0.15 | 2.95 | 0.30091 | 0.2587 | 0.12256 | 0.10014 | 3.3735 | 3.3088 | 0.12 | 0.092367 | 0.075471 | 0.02 | 43.75% | 6% | 10% | 4.841% | 178274 | 187911 | 212010 | 231054 | 37125
Resi_TPO_Roof | $/W | 3.45 | 8 | Residential | 1 | 0.35 | 0.15 | 2.95 | 0.30091 | 0.2587 | 0.12256 | 0.10014 | 3.3735 | 3.3088 | 0 | 0 | 0 | 0 | 43.75% | 7% | 10% | 5.14% | 183696 | 193626 | 218458 | 238081 | 37125
Capex Growth Rates
Module cost change | %/year | -1.5% | per_module
Inverter cost change | %/year | -2% | per_inverter
Balance of system cost change | %/year | 0% | bos_equip_perwatt
Federal Tax | % | 21%
NJ State Tax | % | 9%
Inflation | % | 2.5%
2020 to 2017 $ | % | 100%
Lifetime | years | 25
Operating Expenditures ($/Year)
[5 empty] | Project Mgt. Costs | Property Tax/PILOT | Site Lease | Total | O&M Fee ($/kW-year) | Insurance (%)
Comm_DO_Ground_lg |  |  | $/kW-year |  | 5000 | exempt | n/a | 5000 | 12 | 0.45%
Comm_DO_Ground_med |  |  | $/kW-year |  | 3000 | exempt | n/a | 3000 | 14 | 0.45%
Comm_DO_Roof_lg |  |  | $/kW-year |  | 5000 | exempt | n/a | 5000 | 12 | 0.45%
Comm_DO_Roof_med |  |  | $/kW-year |  | 3000 | exempt | n/a | 3000 | 14 | 0.45%
Comm_DO_Roof_sm |  |  | $/kW-year |  | 16.5 | exempt | n/a | 17 | 14 | 0.27%
Comm_TPO_Carport |  |  | $/kW-year |  | 5000 | exempt | 34650 | 39650 | 12 | 0.45%
Comm_TPO_Ground_lg |  |  | $/kW-year |  | 5000 | exempt | 55000 | 60000 | 12 | 0.45%
Comm_TPO_Ground_med |  |  | $/kW-year |  | 3000 | exempt | 15000 | 18000 | 14 | 0.45%
Comm_TPO_Roof_lg |  |  | $/kW-year |  | 5000 | exempt | 55000 | 60000 | 12 | 0.45%
Comm_TPO_Roof_med |  |  | $/kW-year |  | 1625 | exempt | 10000 | 11625 | 14 | 0.27%
Comm_TPO_Roof_sm |  |  | $/kW-year |  | 16.5 | exempt | 1000 | 1017 | 14 | 0.27%
CS_Ground |  |  | $/kW-year |  | 5000 | 17500 | 55000 | 77500 | 37 | 0.45%
CS_Roof_lg |  |  | $/kW-year |  | 5000 | exempt | 55000 | 60000 | 37 | 0.45%
CS_Roof_med |  |  | $/kW-year |  | 3000 | exempt | 20000 | 23000 | 37 | 0.45%
Grid_Ground |  |  | $/kW-year |  | 6337.3333 | 35000 | 65000 | 106337 | 12 | 0.45%
Grid_Ground_OOS |  |  | $/kW-year |  | 6337.3333 | 50000 | 39000 | 95337 | 12 | 0.45%
Grid_Roof |  |  | $/kW-year |  | 5000 | exempt | 55000 | 60000 | 12 | 0.45%
Resi_DO_Roof |  |  | $/kW-year |  | 16.5 | exempt | n/a | 17 | 35 | 0%
Resi_TPO_Roof |  |  | $/kW-year |  | 16.5 | exempt | n/a | 17 | 35 | 0%
Note on X1: Qingyu Xu: Use 26% tax credit
Note on Y1: Qingyu Xu: Use 22% tax credit
Note on Z1: Qingyu Xu: Use 10% tax credit
Note on P7: Qingyu Xu: SAM assumption: n/a - PPA
Note on Q7: Qingyu Xu: SAM assumption: n/a - PPA
Note on R7: Qingyu Xu: SAM assumption: n/a - PPA
Note on S7: Qingyu Xu: SAM assumption: n/a - PPA
Note on P8: Qingyu Xu: SAM assumption: n/a - PPA
Note on Q8: Qingyu Xu: SAM assumption: n/a - PPA
Note on R8: Qingyu Xu: SAM assumption: n/a - PPA
Note on S8: Qingyu Xu: SAM assumption: n/a - PPA
Note on P9: Qingyu Xu: SAM assumption: n/a - PPA
Note on Q9: Qingyu Xu: SAM assumption: n/a - PPA
Note on R9: Qingyu Xu: SAM assumption: n/a - PPA
Note on S9: Qingyu Xu: SAM assumption: n/a - PPA
Note on P10: Qingyu Xu: SAM assumption: n/a - PPA
Note on Q10: Qingyu Xu: SAM assumption: n/a - PPA
Note on R10: Qingyu Xu: SAM assumption: n/a - PPA
Note on S10: Qingyu Xu: SAM assumption: n/a - PPA
Note on P11: Qingyu Xu: SAM assumption: n/a - PPA
Note on Q11: Qingyu Xu: SAM assumption: n/a - PPA
Note on R11: Qingyu Xu: SAM assumption: n/a - PPA
Note on S11: Qingyu Xu: SAM assumption: n/a - PPA
Note on P12: Qingyu Xu: SAM assumption: n/a - PPA
Note on Q12: Qingyu Xu: SAM assumption: n/a - PPA
Note on R12: Qingyu Xu: SAM assumption: n/a - PPA
Note on S12: Qingyu Xu: SAM assumption: n/a - PPA
Note on P13: Qingyu Xu: SAM assumption: n/a - PPA
Note on Q13: Qingyu Xu: SAM assumption: n/a - PPA
Note on R13: Qingyu Xu: SAM assumption: n/a - PPA
Note on S13: Qingyu Xu: SAM assumption: n/a - PPA
Note on P14: Qingyu Xu: SAM assumption: n/a - PPA
Note on Q14: Qingyu Xu: SAM assumption: n/a - PPA
Note on R14: Qingyu Xu: SAM assumption: n/a - PPA
Note on S14: Qingyu Xu: SAM assumption: n/a - PPA
Note on P15: Qingyu Xu: SAM assumption: n/a - PPA
Note on Q15: Qingyu Xu: SAM assumption: n/a - PPA
Note on R15: Qingyu Xu: SAM assumption: n/a - PPA
Note on S15: Qingyu Xu: SAM assumption: n/a - PPA
Note on P16: Qingyu Xu: SAM assumption: n/a - PPA
Note on Q16: Qingyu Xu: SAM assumption: n/a - PPA
Note on R16: Qingyu Xu: SAM assumption: n/a - PPA
Note on S16: Qingyu Xu: SAM assumption: n/a - PPA
Note on P17: Qingyu Xu: SAM assumption: n/a - PPA
Note on Q17: Qingyu Xu: SAM assumption: n/a - PPA
Note on R17: Qingyu Xu: SAM assumption: n/a - PPA
Note on S17: Qingyu Xu: SAM assumption: n/a - PPA
Note on P18: Qingyu Xu: SAM assumption: n/a - PPA
Note on Q18: Qingyu Xu: SAM assumption: n/a - PPA
Note on R18: Qingyu Xu: SAM assumption: n/a - PPA
Note on S18: Qingyu Xu: SAM assumption: n/a - PPA
Note on Z19: Qingyu Xu: Residential does not receive the 10% credit
Note on AA19: Qingyu Xu: Residential does not receive the 10% credit
Note on P20: Qingyu Xu: SAM assumption: n/a - PPA
Note on Q20: Qingyu Xu: SAM assumption: n/a - PPA
Note on R20: Qingyu Xu: SAM assumption: n/a - PPA
Note on S20: Qingyu Xu: SAM assumption: n/a - PPA
Note on Z20: Qingyu Xu: Residential does not receive the 10% credit
Note on AA20: Qingyu Xu: Residential does not receive the 10% credit